## Sheet1
SUPPLEMENTARY TABLE 1
ANALYTE |  |  | Aß1-40 | Aß1-42 | Aß1-38
TECHNOLOGY |  |  | ELISA Colorimetric | ELISA Colorimetric | ELISA Colorimetric
SAMPLE |  |  | CSF | CSF | CSF
BIOMATERIALS | Capture mAb | Name | 2G3 | 21F12 | 4H9
|  | Isotype | IgG1 | IgG2a | IgG2a
|  | Epitope | Aßx-40 | Aßx-42 | Aßx-38
| Detector mAb | Name | 3D6 | 3D6 | 3D6
|  | Isotype | IGg2b
|  | Epitope | Aß1
| Calibrator | Type | Recombinant protein
|  | Source | rPeptide
REGULATORY STATUS |  |  | CE marked | CE marked | RUO
AUTOMATION |  |  | Validated | Validated | Qualified
ASSAY | Sample incubation | Simultaneouos/sequential with detector mAb | Simultaneous
|  | Volume Sample (µL) | 15
|  | Volume Detector (µL) | 100
|  | Total volume/well | 115
|  | Pre-dilution | Yes (1/21) | No | No
|  | % CSF/well | 0.62112 | 13.0435 | 13.0435
|  | Recipient for dilution | PP, Pre-treated with buffer ADx-Euroimmun sample diluent | Not Applicable
| Boundary Conditions | Sample Incubation | 3
RT
|  | Detection incubation | 0.5
RT
| Calibrators | Format | Ready-to-use
|  | Design | Lyofilized Stability at RT
|  | Number | 5
|  | Concentration range (pg/mL) (lot specific, an example) | 54 - 711 (not corrected for dilution factor) (Lot number: E130611AA) | 126 - 2010 (Lot number: E130516BO-BW) | 126 - 2010 (Lot number: E130516BO-BW)
|  | Curve-fit algorithm | 4PL/5PL
| Run-validation (Calibrator in buffer) | Available | Available in kit
|  | Format | recombinant protein in buffer
|  | Number | 2
|  | Specifications (lot specific, an example) | 78 (55-101) 310 (248-372) | 160 (128-192) 518 (414-622) | 160 (128-192) 518 (414-622)
| PROFICIENCY PANEL (Modified CSF samples) Quality Control Panel |  | Available as a separate kit
| 160 | 128
| 518 | 414.4